## LMPs
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 12.01 | 12.01 | 36 | 50 | 12.01 | 12.01 | 50 | 90 | 12.01 | 12.01 | 50 | 50 | 12.01 | 12.01 | 50 | 50
2 | 36 | 50 | 36 | 50 | 50 | 50 | 50 | 90 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
3 | 50 | 50 | 36 | 50 | 50 | 50 | 50 | 90 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50

## DispatchableGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9
J | Natural Gas | 1 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9
K | Natural Gas | 1 | 0 | 0 | 0 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2
L | Natural Gas | 1 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920
N | Natural Gas | 2 | 164.1628 | 799.2 | 156.7207 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2 | 799.2
O | Natural Gas | 2 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5
P | Natural Gas | 2 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8
Q | Natural Gas | 3 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730
R | Natural Gas | 1 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2
S | Natural Gas | 3 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7
X | Storage | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 407.3595 | 0 | 0 | 1277.6929 | 18.897
Y | Storage | 2 | 0 | 4822.1003 | 0 | 8092.0991 | 1914.4662 | 7913.466 | 3746.0765 | 10000 | 2656.2032 | 6820.4665 | 3391.1761 | 6021.8338 | 118.3538 | 6445.2526 | 0 | 9647.7932
Z | Storage | 3 | 42.12 | 4286.5603 | 0 | 3352.423 | 2226.5732 | 6892.4619 | 24.2671 | 9047.079 | 2580.6846 | 5819.5561 | 0 | 9803.3551 | 629.4516 | 5550.3729 | 0 | 4623.5457

## NuclearGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Nuk1 | Nuclear | 1 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 1205 | 1205 | 1205 | 1205 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7
Nuk2 | Nuclear | 2 | 2425 | 2425 | 2425 | 2425 | 1250 | 1250 | 1250 | 1250 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425
Nuk3 | Nuclear | 2 | 2716 | 2716 | 2716 | 2716 | 1400 | 1400 | 1400 | 1400 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716
Nuk4 | Nuclear | 3 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 1441.1 | 1441.1 | 1441.1 | 1441.1 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734
Nuk5 | Nuclear | 3 | 745.542 | 745.542 | 745.542 | 745.542 | 384.3 | 384.3 | 384.3 | 384.3 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542
Nuk6 | Nuclear | 3 | 922.373 | 922.373 | 922.373 | 922.373 | 475.45 | 475.45 | 475.45 | 475.45 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373

## Solar_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 5258.1084 | 7683.5028 | 0 | 0 | 6464.5069 | 9130.729 | 0 | 0 | 6763.46 | 8614.2437 | 0 | 0 | 5590.2272 | 8402.1822 | 0 | 0
2 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0
3 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0

## Reserves_MW
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0
J | Natural Gas | 1 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0
K | Natural Gas | 1 | 583.2 | 583.2 | 583.2 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0
L | Natural Gas | 1 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0
N | Natural Gas | 2 | 635.0372 | 0 | 642.4793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O | Natural Gas | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P | Natural Gas | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Natural Gas | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Natural Gas | 1 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0
S | Natural Gas | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X | Storage | 1 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 2592.6405 | 3000 | 3000 | 1722.3071 | 2981.103
Y | Storage | 2 | 10000 | 5177.8997 | 10000 | 1907.9009 | 8085.5338 | 2086.534 | 6253.9235 | 0 | 7343.7968 | 3179.5335 | 6608.8239 | 3978.1662 | 9881.6462 | 3554.7474 | 10000 | 352.2068
Z | Storage | 3 | 9957.88 | 5713.4397 | 10000 | 6647.577 | 7773.4268 | 3107.5381 | 9975.7329 | 952.921 | 7419.3154 | 4180.4439 | 10000 | 196.6449 | 9370.5484 | 4449.6271 | 10000 | 5376.4543

## PowerFlows_MW
Lines | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Line1-2 | 1500 | 1500 | 436.3989 | -1224.8771 | 1500 | 1500 | -445.1594 | -1144.6989 | 1500 | 1500 | -329.015 | 0 | 1500 | 1500 | 1051.1511 | -1500
Line1-3 | 1500 | 1500 | 564.6872 | 275.1229 | 1500 | 1500 | 1054.8406 | -1085.8494 | 1500 | 1500 | 989.9299 | -1500 | 1500 | 1500 | 1310.1534 | 0
Line2-3 | 0 | 0 | 128.2882 | 1500 | 0 | 0 | 1500 | 58.8495 | 0 | 0 | 1318.9449 | -1500 | 0 | 0 | 259.0023 | 1500

## Imports_MW
Name | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Bus1_import | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268.8969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bus2_import | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slack_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Emissions_tons
Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
2509.0659 | 2939.301 | 3599.9159 | 4491.5026 | 2939.301 | 2939.301 | 4491.5026 | 4491.5026 | 2939.301 | 2939.301 | 4491.5026 | 4491.5026 | 2939.301 | 2939.301 | 4491.5026 | 4491.5026