## Solar_gen
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0
2 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0
3 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0 | 56.3584 | 56.3584 | 0 | 0
The number of of households that have the necessary conditions and roof space to accommodate a PV array of 4KW: | [11 empty] | 493333.3333 | penalty factor
Assume equally disdributed across the three buses | [9 empty] | South | 40% | 197333.3333 | 1
[10 empty] | East | 20% | 98666.6667 | 0.89
[10 empty] | West | 20% | 98666.6667 | 0.94
[10 empty] | North | 20% | 98666.6667 | 0.93
[11 empty] | Capacity | 4 | kW
[11 empty] | Average Capacity Factor | 0.15
[11 empty] | Maximum available | 281.792 | MW
Assume that about 10% of households are willing to install roof-top PV in 2030: | [7 empty] | 0.2