## LMPs
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 31 | 39 | 24 | 38 | 37.5 | 100 | 35 | 90 | 37.5 | 46 | 33 | 44 | 35 | 46 | 30 | 39
2 | 31 | 39 | 24 | 38 | 37 | 100 | 35 | 90 | 37 | 46 | 33 | 44 | 35 | 46 | 30 | 39
3 | 31 | 39 | 24 | 38 | 38 | 100 | 35 | 90 | 38 | 46 | 33 | 44 | 35 | 46 | 30 | 39

## DispatchableGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
A | Coal | 1 | 0 | 0 | 0 | 0 | 0 | 1148.4 | 0 | 1148.4 | 0 | 1148.4 | 0 | 554.851 | 0 | 1148.4 | 0 | 0
B | Coal | 1 | 0 | 0 | 0 | 0 | 0 | 72.875 | 0 | 95.513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | Coal | 2 | 0 | 2491.2 | 0 | 2491.2 | 1908.25 | 2491.2 | 0 | 2491.2 | 2163 | 2491.2 | 0 | 2491.2 | 0 | 2491.2 | 0 | 2491.2
D | Coal | 2 | 0 | 1530.5 | 0 | 1530.5 | 1530.5 | 1530.5 | 1070.65 | 1530.5 | 1530.5 | 1530.5 | 0 | 1530.5 | 292.151 | 1530.5 | 0 | 1530.5
E | Coal | 3 | 0 | 1718.051 | 0 | 0 | 0 | 2119 | 0 | 2119 | 0 | 2119 | 0 | 2119 | 0 | 2119 | 0 | 1623.051
F | Coal | 3 | 0 | 0 | 0 | 0 | 0 | 763.2 | 0 | 763.2 | 0 | 763.2 | 0 | 0 | 0 | 763.2 | 0 | 0
G | Coal | 3 | 0 | 2558.2 | 0 | 1787.251 | 753.7 | 2558.2 | 0 | 2558.2 | 734.451 | 2558.2 | 0 | 2558.2 | 0 | 2558.2 | 0 | 2558.2
H | Natural Gas | 1 | 0 | 423.5 | 0 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 0 | 423.5
I | Natural Gas | 1 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9
J | Natural Gas | 1 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9
K | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 583.2 | 0 | 583.2 | 0 | 583.2 | 0 | 583.2 | 0 | 583.2 | 0 | 0
L | Natural Gas | 1 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920
M | Natural Gas | 2 | 0 | 0 | 0 | 0 | 0 | 1753.6 | 0 | 1753.6 | 0 | 1019.251 | 0 | 0 | 0 | 127.251 | 0 | 0
N | Natural Gas | 2 | 0 | 799.2 | 0 | 799.2 | 799.2 | 799.2 | 0 | 799.2 | 799.2 | 799.2 | 0 | 799.2 | 0 | 799.2 | 0 | 799.2
O | Natural Gas | 2 | 977.5 | 977.5 | 0 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 707.051 | 977.5
P | Natural Gas | 2 | 2244.8 | 2244.8 | 1515.851 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8
Q | Natural Gas | 3 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730
R | Natural Gas | 1 | 0 | 271.2 | 0 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 104.351 | 271.2 | 271.2 | 271.2 | 0 | 271.2
S | Natural Gas | 3 | 569.551 | 979.7 | 0 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 0 | 979.7
T | Fuel Oil | 3 | 670 | 670 | 0 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670

## NuclearGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Nuk1 | Nuclear | 1 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 1205 | 1205 | 1205 | 1205 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7
Nuk2 | Nuclear | 2 | 2425 | 2425 | 2425 | 2425 | 1250 | 1250 | 1250 | 1250 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425
Nuk3 | Nuclear | 2 | 2716 | 2716 | 2716 | 2716 | 1400 | 1400 | 1400 | 1400 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716
Nuk4 | Nuclear | 3 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 1441.1 | 1441.1 | 1441.1 | 1441.1 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734
Nuk5 | Nuclear | 3 | 745.542 | 745.542 | 745.542 | 745.542 | 384.3 | 384.3 | 384.3 | 384.3 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542
Nuk6 | Nuclear | 3 | 922.373 | 922.373 | 922.373 | 922.373 | 475.45 | 475.45 | 475.45 | 475.45 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373

## Reserves_MW
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
A | Coal | 1 | 1148.4 | 1148.4 | 1148.4 | 1148.4 | 1148.4 | 0 | 1148.4 | 0 | 1148.4 | 0 | 1148.4 | 593.549 | 1148.4 | 0 | 1148.4 | 1148.4
B | Coal | 1 | 413.6 | 413.6 | 413.6 | 413.6 | 413.6 | 340.725 | 413.6 | 318.087 | 413.6 | 413.6 | 413.6 | 413.6 | 413.6 | 413.6 | 413.6 | 413.6
C | Coal | 2 | 2491.2 | 0 | 2491.2 | 0 | 582.95 | 0 | 2491.2 | 0 | 328.2 | 0 | 2491.2 | 0 | 2491.2 | 0 | 2491.2 | 0
D | Coal | 2 | 1530.5 | 0 | 1530.5 | 0 | 0 | 0 | 459.85 | 0 | 0 | 0 | 1530.5 | 0 | 1238.349 | 0 | 1530.5 | 0
E | Coal | 3 | 2119 | 400.949 | 2119 | 2119 | 2119 | 0 | 2119 | 0 | 2119 | 0 | 2119 | 0 | 2119 | 0 | 2119 | 495.949
F | Coal | 3 | 763.2 | 763.2 | 763.2 | 763.2 | 763.2 | 0 | 763.2 | 0 | 763.2 | 0 | 763.2 | 763.2 | 763.2 | 0 | 763.2 | 763.2
G | Coal | 3 | 2558.2 | 0 | 2558.2 | 770.949 | 1804.5 | 0 | 2558.2 | 0 | 1823.749 | 0 | 2558.2 | 0 | 2558.2 | 0 | 2558.2 | 0
H | Natural Gas | 1 | 423.5 | 0 | 423.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 423.5 | 0
I | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
J | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
K | Natural Gas | 1 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 0 | 583.2 | 0 | 583.2 | 0 | 583.2 | 0 | 583.2 | 0 | 583.2 | 583.2
L | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M | Natural Gas | 2 | 1753.6 | 1753.6 | 1753.6 | 1753.6 | 1753.6 | 0 | 1753.6 | 0 | 1753.6 | 734.349 | 1753.6 | 1753.6 | 1753.6 | 1626.349 | 1753.6 | 1753.6
N | Natural Gas | 2 | 799.2 | 0 | 799.2 | 0 | 0 | 0 | 799.2 | 0 | 0 | 0 | 799.2 | 0 | 799.2 | 0 | 799.2 | 0
O | Natural Gas | 2 | 0 | 0 | 977.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270.449 | 0
P | Natural Gas | 2 | 0 | 0 | 728.949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Natural Gas | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Natural Gas | 1 | 271.2 | 0 | 271.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 166.849 | 0 | 0 | 0 | 271.2 | 0
S | Natural Gas | 3 | 410.149 | 0 | 979.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 979.7 | 0
T | Fuel Oil | 3 | 0 | 0 | 670 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PowerFlows_MW
Lines | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Line1-2 | 384.2333 | -141 | 707.5497 | -348.4167 | -318.25 | 443.2167 | 410.7667 | 377.2333 | -354.1 | 422.6997 | 638.3503 | 366.6003 | 634.833 | 645.6997 | 404.383 | -148.9167
Line1-3 | 379.2667 | -441.2 | 645.1503 | 264.0167 | 581.75 | 581.7583 | 636.9333 | 188.6167 | 545.9 | -56.2997 | 465.4007 | -118.5493 | 543.967 | -100.8997 | 527.117 | -414.2833
Line2-3 | -4.9667 | -300.2 | -62.3993 | 612.4333 | 900 | 138.5417 | 226.1667 | -188.6167 | 900 | -478.9993 | -172.9497 | -485.1497 | -90.866 | -746.5993 | 122.734 | -265.3667

## Imports_MW
Name | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Bus1_import | 1 | 0 | 0 | 0 | 0 | 0 | 1200 | 0 | 306.637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bus2_import | 2 | 0 | 0 | 0 | 0 | 0 | 1187.275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slack_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Emissions_tons
Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
5274.9415 | 14163.8676 | 1880.2447 | 11866.6062 | 10394.2753 | 18679.6673 | 7049.1086 | 18701.6832 | 10603.1909 | 17952.1585 | 5990.2232 | 15588.124 | 6354.4252 | 17154.5544 | 4791.2928 | 14076.1732