## Load_all_2023
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 19450
Spring | Peak | 1040 | Average | 19760
Summer | Peak | 1056 | Average | 25782
Fall | Peak | 1024 | Average | 20847
Winter | Offpeak | 1176 | Average | 16504
Spring | Offpeak | 1144 | Average | 15839
Summer | Offpeak | 1152 | Average | 20388
Fall | Offpeak | 1112 | Average | 18610
Winter | Peak | 1056 | Maximum | 29652
Spring | Peak | 1040 | Maximum | 30975
Summer | Peak | 1056 | Maximum | 33567
Fall | Peak | 1024 | Maximum | 32675
Winter | Offpeak | 1176 | Maximum | 27163
Spring | Offpeak | 1144 | Maximum | 28917
Summer | Offpeak | 1152 | Maximum | 31191
Fall | Offpeak | 1112 | Maximum | 29557

## Load_bus_2023
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 3890 | 1
Spring | Peak | 1040 | Average | 3952 | 1
Summer | Peak | 1056 | Average | 5156.4 | 1
Fall | Peak | 1024 | Average | 4169.4 | 1
Winter | Offpeak | 1176 | Average | 3300.8 | 1
Spring | Offpeak | 1144 | Average | 3167.8 | 1
Summer | Offpeak | 1152 | Average | 4077.6 | 1
Fall | Offpeak | 1112 | Average | 3722 | 1
Winter | Peak | 1056 | Maximum | 5930.4 | 1
Spring | Peak | 1040 | Maximum | 6195 | 1
Summer | Peak | 1056 | Maximum | 6713.4 | 1
Fall | Peak | 1024 | Maximum | 6535 | 1
Winter | Offpeak | 1176 | Maximum | 5432.6 | 1
Spring | Offpeak | 1144 | Maximum | 5783.4 | 1
Summer | Offpeak | 1152 | Maximum | 6238.2 | 1
Fall | Offpeak | 1112 | Maximum | 5911.4 | 1
Winter | Peak | 1056 | Average | 8752.5 | 2
Spring | Peak | 1040 | Average | 8892 | 2
Summer | Peak | 1056 | Average | 11601.9 | 2
Fall | Peak | 1024 | Average | 9381.15 | 2
Winter | Offpeak | 1176 | Average | 7426.8 | 2
Spring | Offpeak | 1144 | Average | 7127.55 | 2
Summer | Offpeak | 1152 | Average | 9174.6 | 2
Fall | Offpeak | 1112 | Average | 8374.5 | 2
Winter | Peak | 1056 | Maximum | 13343.4 | 2
Spring | Peak | 1040 | Maximum | 13938.75 | 2
Summer | Peak | 1056 | Maximum | 15105.15 | 2
Fall | Peak | 1024 | Maximum | 14703.75 | 2
Winter | Offpeak | 1176 | Maximum | 12223.35 | 2
Spring | Offpeak | 1144 | Maximum | 13012.65 | 2
Summer | Offpeak | 1152 | Maximum | 14035.95 | 2
Fall | Offpeak | 1112 | Maximum | 13300.65 | 2
Winter | Peak | 1056 | Average | 6807.5 | 3
Spring | Peak | 1040 | Average | 6916 | 3
Summer | Peak | 1056 | Average | 9023.7 | 3
Fall | Peak | 1024 | Average | 7296.45 | 3
Winter | Offpeak | 1176 | Average | 5776.4 | 3
Spring | Offpeak | 1144 | Average | 5543.65 | 3
Summer | Offpeak | 1152 | Average | 7135.8 | 3
Fall | Offpeak | 1112 | Average | 6513.5 | 3
Winter | Peak | 1056 | Maximum | 10378.2 | 3
Spring | Peak | 1040 | Maximum | 10841.25 | 3
Summer | Peak | 1056 | Maximum | 11748.45 | 3
Fall | Peak | 1024 | Maximum | 11436.25 | 3
Winter | Offpeak | 1176 | Maximum | 9507.05 | 3
Spring | Offpeak | 1144 | Maximum | 10120.95 | 3
Summer | Offpeak | 1152 | Maximum | 10916.85 | 3
Fall | Offpeak | 1112 | Maximum | 10344.95 | 3

## Load_all_2030_low_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 20708.9352
Spring | Peak | 1040 | Average | 21039.0005
Summer | Peak | 1056 | Average | 27450.785
Fall | Peak | 1024 | Average | 22196.3585
Winter | Offpeak | 1176 | Average | 17572.2502
Spring | Offpeak | 1144 | Average | 16864.2069
Summer | Offpeak | 1152 | Average | 21707.6489
Fall | Offpeak | 1112 | Average | 19814.5647
Winter | Peak | 1056 | Maximum | 31571.2775
Spring | Peak | 1040 | Maximum | 32979.911
Summer | Peak | 1056 | Maximum | 35739.6827
Fall | Peak | 1024 | Maximum | 34789.9464
Winter | Offpeak | 1176 | Maximum | 28921.1726
Spring | Offpeak | 1144 | Maximum | 30788.7033
Summer | Offpeak | 1152 | Maximum | 33209.8919
Fall | Offpeak | 1112 | Maximum | 31470.1284

## Load_bus_2030_low_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 4141.787 | 1
Spring | Peak | 1040 | Average | 4207.8001 | 1
Summer | Peak | 1056 | Average | 5490.157 | 1
Fall | Peak | 1024 | Average | 4439.2717 | 1
Winter | Offpeak | 1176 | Average | 3514.45 | 1
Spring | Offpeak | 1144 | Average | 3372.8414 | 1
Summer | Offpeak | 1152 | Average | 4341.5298 | 1
Fall | Offpeak | 1112 | Average | 3962.9129 | 1
Winter | Peak | 1056 | Maximum | 6314.2555 | 1
Spring | Peak | 1040 | Maximum | 6595.9822 | 1
Summer | Peak | 1056 | Maximum | 7147.9365 | 1
Fall | Peak | 1024 | Maximum | 6957.9893 | 1
Winter | Offpeak | 1176 | Maximum | 5784.2345 | 1
Spring | Offpeak | 1144 | Maximum | 6157.7407 | 1
Summer | Offpeak | 1152 | Maximum | 6641.9784 | 1
Fall | Offpeak | 1112 | Maximum | 6294.0257 | 1
Winter | Peak | 1056 | Average | 9319.0208 | 2
Spring | Peak | 1040 | Average | 9467.5502 | 2
Summer | Peak | 1056 | Average | 12352.8532 | 2
Fall | Peak | 1024 | Average | 9988.3613 | 2
Winter | Offpeak | 1176 | Average | 7907.5126 | 2
Spring | Offpeak | 1144 | Average | 7588.8931 | 2
Summer | Offpeak | 1152 | Average | 9768.442 | 2
Fall | Offpeak | 1112 | Average | 8916.5541 | 2
Winter | Peak | 1056 | Maximum | 14207.0749 | 2
Spring | Peak | 1040 | Maximum | 14840.9599 | 2
Summer | Peak | 1056 | Maximum | 16082.8572 | 2
Fall | Peak | 1024 | Maximum | 15655.4759 | 2
Winter | Offpeak | 1176 | Maximum | 13014.5277 | 2
Spring | Offpeak | 1144 | Maximum | 13854.9165 | 2
Summer | Offpeak | 1152 | Maximum | 14944.4514 | 2
Fall | Offpeak | 1112 | Maximum | 14161.5578 | 2
Winter | Peak | 1056 | Average | 7248.1273 | 3
Spring | Peak | 1040 | Average | 7363.6502 | 3
Summer | Peak | 1056 | Average | 9607.7747 | 3
Fall | Peak | 1024 | Average | 7768.7255 | 3
Winter | Offpeak | 1176 | Average | 6150.2876 | 3
Spring | Offpeak | 1144 | Average | 5902.4724 | 3
Summer | Offpeak | 1152 | Average | 7597.6771 | 3
Fall | Offpeak | 1112 | Average | 6935.0977 | 3
Winter | Peak | 1056 | Maximum | 11049.9471 | 3
Spring | Peak | 1040 | Maximum | 11542.9688 | 3
Summer | Peak | 1056 | Maximum | 12508.8889 | 3
Fall | Peak | 1024 | Maximum | 12176.4812 | 3
Winter | Offpeak | 1176 | Maximum | 10122.4104 | 3
Spring | Offpeak | 1144 | Maximum | 10776.0462 | 3
Summer | Offpeak | 1152 | Maximum | 11623.4622 | 3
Fall | Offpeak | 1112 | Maximum | 11014.5449 | 3

## Load_all_2030_high_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 23119.9379
Spring | Peak | 1040 | Average | 23488.4305
Summer | Peak | 1056 | Average | 30646.6961
Fall | Peak | 1024 | Average | 24780.5319
Winter | Offpeak | 1176 | Average | 19618.0697
Spring | Offpeak | 1144 | Average | 18827.5937
Summer | Offpeak | 1152 | Average | 24234.9251
Fall | Offpeak | 1112 | Average | 22121.4419
Winter | Peak | 1056 | Maximum | 35246.91
Spring | Peak | 1040 | Maximum | 36819.5412
Summer | Peak | 1056 | Maximum | 39900.6147
Fall | Peak | 1024 | Maximum | 38840.307
Winter | Offpeak | 1176 | Maximum | 32288.2711
Spring | Offpeak | 1144 | Maximum | 34373.2259
Summer | Offpeak | 1152 | Maximum | 37076.2973
Fall | Offpeak | 1112 | Maximum | 35133.9848

## Load_bus_2030_high_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 4623.9876 | 1
Spring | Peak | 1040 | Average | 4697.6861 | 1
Summer | Peak | 1056 | Average | 6129.3392 | 1
Fall | Peak | 1024 | Average | 4956.1064 | 1
Winter | Offpeak | 1176 | Average | 3923.6139 | 1
Spring | Offpeak | 1144 | Average | 3765.5187 | 1
Summer | Offpeak | 1152 | Average | 4846.985 | 1
Fall | Offpeak | 1112 | Average | 4424.2884 | 1
Winter | Peak | 1056 | Maximum | 7049.382 | 1
Spring | Peak | 1040 | Maximum | 7363.9082 | 1
Summer | Peak | 1056 | Maximum | 7980.1229 | 1
Fall | Peak | 1024 | Maximum | 7768.0614 | 1
Winter | Offpeak | 1176 | Maximum | 6457.6542 | 1
Spring | Offpeak | 1144 | Maximum | 6874.6452 | 1
Summer | Offpeak | 1152 | Maximum | 7415.2595 | 1
Fall | Offpeak | 1112 | Maximum | 7026.797 | 1
Winter | Peak | 1056 | Average | 10403.9721 | 2
Spring | Peak | 1040 | Average | 10569.7937 | 2
Summer | Peak | 1056 | Average | 13791.0132 | 2
Fall | Peak | 1024 | Average | 11151.2394 | 2
Winter | Offpeak | 1176 | Average | 8828.1314 | 2
Spring | Offpeak | 1144 | Average | 8472.4171 | 2
Summer | Offpeak | 1152 | Average | 10905.7163 | 2
Fall | Offpeak | 1112 | Average | 9954.6488 | 2
Winter | Peak | 1056 | Maximum | 15861.1095 | 2
Spring | Peak | 1040 | Maximum | 16568.7935 | 2
Summer | Peak | 1056 | Maximum | 17955.2766 | 2
Fall | Peak | 1024 | Maximum | 17478.1382 | 2
Winter | Offpeak | 1176 | Maximum | 14529.722 | 2
Spring | Offpeak | 1144 | Maximum | 15467.9517 | 2
Summer | Offpeak | 1152 | Maximum | 16684.3338 | 2
Fall | Offpeak | 1112 | Maximum | 15810.2932 | 2
Winter | Peak | 1056 | Average | 8091.9783 | 3
Spring | Peak | 1040 | Average | 8220.9507 | 3
Summer | Peak | 1056 | Average | 10726.3436 | 3
Fall | Peak | 1024 | Average | 8673.1862 | 3
Winter | Offpeak | 1176 | Average | 6866.3244 | 3
Spring | Offpeak | 1144 | Average | 6589.6578 | 3
Summer | Offpeak | 1152 | Average | 8482.2238 | 3
Fall | Offpeak | 1112 | Average | 7742.5047 | 3
Winter | Peak | 1056 | Maximum | 12336.4185 | 3
Spring | Peak | 1040 | Maximum | 12886.8394 | 3
Summer | Peak | 1056 | Maximum | 13965.2151 | 3
Fall | Peak | 1024 | Maximum | 13594.1075 | 3
Winter | Offpeak | 1176 | Maximum | 11300.8949 | 3
Spring | Offpeak | 1144 | Maximum | 12030.6291 | 3
Summer | Offpeak | 1152 | Maximum | 12976.7041 | 3
Fall | Offpeak | 1112 | Maximum | 12296.8947 | 3

## Load_all_2040_low_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 22650.0639
Spring | Peak | 1040 | Average | 23011.0675
Summer | Peak | 1056 | Average | 30023.8533
Fall | Peak | 1024 | Average | 24276.9091
Winter | Offpeak | 1176 | Average | 19219.3653
Spring | Offpeak | 1144 | Average | 18444.9544
Summer | Offpeak | 1152 | Average | 23742.3909
Fall | Offpeak | 1112 | Average | 21671.8606
Winter | Peak | 1056 | Maximum | 34530.5756
Spring | Peak | 1040 | Maximum | 36071.2457
Summer | Peak | 1056 | Maximum | 39089.7015
Fall | Peak | 1024 | Maximum | 38050.9428
Winter | Offpeak | 1176 | Maximum | 31632.0661
Spring | Offpeak | 1144 | Maximum | 33674.6477
Summer | Offpeak | 1152 | Maximum | 36322.7837
Fall | Offpeak | 1112 | Maximum | 34419.9454

## Load_bus_2040_low_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 4530.0128 | 1
Spring | Peak | 1040 | Average | 4602.2135 | 1
Summer | Peak | 1056 | Average | 6004.7707 | 1
Fall | Peak | 1024 | Average | 4855.3818 | 1
Winter | Offpeak | 1176 | Average | 3843.8731 | 1
Spring | Offpeak | 1144 | Average | 3688.9909 | 1
Summer | Offpeak | 1152 | Average | 4748.4782 | 1
Fall | Offpeak | 1112 | Average | 4334.3721 | 1
Winter | Peak | 1056 | Maximum | 6906.1151 | 1
Spring | Peak | 1040 | Maximum | 7214.2491 | 1
Summer | Peak | 1056 | Maximum | 7817.9403 | 1
Fall | Peak | 1024 | Maximum | 7610.1886 | 1
Winter | Offpeak | 1176 | Maximum | 6326.4132 | 1
Spring | Offpeak | 1144 | Maximum | 6734.9295 | 1
Summer | Offpeak | 1152 | Maximum | 7264.5567 | 1
Fall | Offpeak | 1112 | Maximum | 6883.9891 | 1
Winter | Peak | 1056 | Average | 10192.5288 | 2
Spring | Peak | 1040 | Average | 10354.9804 | 2
Summer | Peak | 1056 | Average | 13510.734 | 2
Fall | Peak | 1024 | Average | 10924.6091 | 2
Winter | Offpeak | 1176 | Average | 8648.7144 | 2
Spring | Offpeak | 1144 | Average | 8300.2295 | 2
Summer | Offpeak | 1152 | Average | 10684.0759 | 2
Fall | Offpeak | 1112 | Average | 9752.3373 | 2
Winter | Peak | 1056 | Maximum | 15538.759 | 2
Spring | Peak | 1040 | Maximum | 16232.0606 | 2
Summer | Peak | 1056 | Maximum | 17590.3657 | 2
Fall | Peak | 1024 | Maximum | 17122.9243 | 2
Winter | Offpeak | 1176 | Maximum | 14234.4298 | 2
Spring | Offpeak | 1144 | Maximum | 15153.5915 | 2
Summer | Offpeak | 1152 | Maximum | 16345.2527 | 2
Fall | Offpeak | 1112 | Maximum | 15488.9754 | 2
Winter | Peak | 1056 | Average | 7927.5224 | 3
Spring | Peak | 1040 | Average | 8053.8736 | 3
Summer | Peak | 1056 | Average | 10508.3487 | 3
Fall | Peak | 1024 | Average | 8496.9182 | 3
Winter | Offpeak | 1176 | Average | 6726.7778 | 3
Spring | Offpeak | 1144 | Average | 6455.734 | 3
Summer | Offpeak | 1152 | Average | 8309.8368 | 3
Fall | Offpeak | 1112 | Average | 7585.1512 | 3
Winter | Peak | 1056 | Maximum | 12085.7015 | 3
Spring | Peak | 1040 | Maximum | 12624.936 | 3
Summer | Peak | 1056 | Maximum | 13681.3955 | 3
Fall | Peak | 1024 | Maximum | 13317.83 | 3
Winter | Offpeak | 1176 | Maximum | 11071.2231 | 3
Spring | Offpeak | 1144 | Maximum | 11786.1267 | 3
Summer | Offpeak | 1152 | Maximum | 12712.9743 | 3
Fall | Offpeak | 1112 | Maximum | 12046.9809 | 3

## Load_all_2040_high_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 29595.4752
Spring | Peak | 1040 | Average | 30067.1768
Summer | Peak | 1056 | Average | 39230.362
Fall | Peak | 1024 | Average | 31721.1759
Winter | Offpeak | 1176 | Average | 25112.7878
Spring | Offpeak | 1144 | Average | 24100.9116
Summer | Offpeak | 1152 | Average | 31022.7531
Fall | Offpeak | 1112 | Average | 28317.3158
Winter | Peak | 1056 | Maximum | 45119.0247
Spring | Peak | 1040 | Maximum | 47132.1256
Summer | Peak | 1056 | Maximum | 51076.1602
Fall | Peak | 1024 | Maximum | 49718.8767
Winter | Offpeak | 1176 | Maximum | 41331.7168
Spring | Offpeak | 1144 | Maximum | 44000.6353
Summer | Offpeak | 1152 | Maximum | 47460.7952
Fall | Offpeak | 1112 | Maximum | 44974.4709

## Load_bus_2040_high_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 5919.095 | 1
Spring | Peak | 1040 | Average | 6013.4354 | 1
Summer | Peak | 1056 | Average | 7846.0724 | 1
Fall | Peak | 1024 | Average | 6344.2352 | 1
Winter | Offpeak | 1176 | Average | 5022.5576 | 1
Spring | Offpeak | 1144 | Average | 4820.1823 | 1
Summer | Offpeak | 1152 | Average | 6204.5506 | 1
Fall | Offpeak | 1112 | Average | 5663.4632 | 1
Winter | Peak | 1056 | Maximum | 9023.8049 | 1
Spring | Peak | 1040 | Maximum | 9426.4251 | 1
Summer | Peak | 1056 | Maximum | 10215.232 | 1
Fall | Peak | 1024 | Maximum | 9943.7753 | 1
Winter | Offpeak | 1176 | Maximum | 8266.3434 | 1
Spring | Offpeak | 1144 | Maximum | 8800.1271 | 1
Summer | Offpeak | 1152 | Maximum | 9492.159 | 1
Fall | Offpeak | 1112 | Maximum | 8994.8942 | 1
Winter | Peak | 1056 | Average | 13317.9638 | 2
Spring | Peak | 1040 | Average | 13530.2296 | 2
Summer | Peak | 1056 | Average | 17653.6629 | 2
Fall | Peak | 1024 | Average | 14274.5292 | 2
Winter | Offpeak | 1176 | Average | 11300.7545 | 2
Spring | Offpeak | 1144 | Average | 10845.4102 | 2
Summer | Offpeak | 1152 | Average | 13960.2389 | 2
Fall | Offpeak | 1112 | Average | 12742.7921 | 2
Winter | Peak | 1056 | Maximum | 20303.5611 | 2
Spring | Peak | 1040 | Maximum | 21209.4565 | 2
Summer | Peak | 1056 | Maximum | 22984.2721 | 2
Fall | Peak | 1024 | Maximum | 22373.4945 | 2
Winter | Offpeak | 1176 | Maximum | 18599.2726 | 2
Spring | Offpeak | 1144 | Maximum | 19800.2859 | 2
Summer | Offpeak | 1152 | Maximum | 21357.3578 | 2
Fall | Offpeak | 1112 | Maximum | 20238.5119 | 2
Winter | Peak | 1056 | Average | 10358.4163 | 3
Spring | Peak | 1040 | Average | 10523.5119 | 3
Summer | Peak | 1056 | Average | 13730.6267 | 3
Fall | Peak | 1024 | Average | 11102.4116 | 3
Winter | Offpeak | 1176 | Average | 8789.4757 | 3
Spring | Offpeak | 1144 | Average | 8435.3191 | 3
Summer | Offpeak | 1152 | Average | 10857.9636 | 3
Fall | Offpeak | 1112 | Average | 9911.0605 | 3
Winter | Peak | 1056 | Maximum | 15791.6586 | 3
Spring | Peak | 1040 | Maximum | 16496.244 | 3
Summer | Peak | 1056 | Maximum | 17876.6561 | 3
Fall | Peak | 1024 | Maximum | 17401.6068 | 3
Winter | Offpeak | 1176 | Maximum | 14466.1009 | 3
Spring | Offpeak | 1144 | Maximum | 15400.2223 | 3
Summer | Offpeak | 1152 | Maximum | 16611.2783 | 3
Fall | Offpeak | 1112 | Maximum | 15741.0648 | 3