## Load_all_2022
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 19450
Spring | Peak | 1040 | Average | 19760
Summer | Peak | 1056 | Average | 25782
Fall | Peak | 1024 | Average | 20847
Winter | Offpeak | 1176 | Average | 16504
Spring | Offpeak | 1144 | Average | 15839
Summer | Offpeak | 1152 | Average | 20388
Fall | Offpeak | 1112 | Average | 18610
Winter | Peak | 1056 | Maximum | 29652
Spring | Peak | 1040 | Maximum | 30975
Summer | Peak | 1056 | Maximum | 33567
Fall | Peak | 1024 | Maximum | 32675
Winter | Offpeak | 1176 | Maximum | 27163
Spring | Offpeak | 1144 | Maximum | 28917
Summer | Offpeak | 1152 | Maximum | 31191
Fall | Offpeak | 1112 | Maximum | 29557

## Load_bus_2022
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 3890 | 1
Spring | Peak | 1040 | Average | 3952 | 1
Summer | Peak | 1056 | Average | 5156.4 | 1
Fall | Peak | 1024 | Average | 4169.4 | 1
Winter | Offpeak | 1176 | Average | 3300.8 | 1
Spring | Offpeak | 1144 | Average | 3167.8 | 1
Summer | Offpeak | 1152 | Average | 4077.6 | 1
Fall | Offpeak | 1112 | Average | 3722 | 1
Winter | Peak | 1056 | Maximum | 5930.4 | 1
Spring | Peak | 1040 | Maximum | 6195 | 1
Summer | Peak | 1056 | Maximum | 6713.4 | 1
Fall | Peak | 1024 | Maximum | 6535 | 1
Winter | Offpeak | 1176 | Maximum | 5432.6 | 1
Spring | Offpeak | 1144 | Maximum | 5783.4 | 1
Summer | Offpeak | 1152 | Maximum | 6238.2 | 1
Fall | Offpeak | 1112 | Maximum | 5911.4 | 1
Winter | Peak | 1056 | Average | 8752.5 | 2
Spring | Peak | 1040 | Average | 8892 | 2
Summer | Peak | 1056 | Average | 11601.9 | 2
Fall | Peak | 1024 | Average | 9381.15 | 2
Winter | Offpeak | 1176 | Average | 7426.8 | 2
Spring | Offpeak | 1144 | Average | 7127.55 | 2
Summer | Offpeak | 1152 | Average | 9174.6 | 2
Fall | Offpeak | 1112 | Average | 8374.5 | 2
Winter | Peak | 1056 | Maximum | 13343.4 | 2
Spring | Peak | 1040 | Maximum | 13938.75 | 2
Summer | Peak | 1056 | Maximum | 15105.15 | 2
Fall | Peak | 1024 | Maximum | 14703.75 | 2
Winter | Offpeak | 1176 | Maximum | 12223.35 | 2
Spring | Offpeak | 1144 | Maximum | 13012.65 | 2
Summer | Offpeak | 1152 | Maximum | 14035.95 | 2
Fall | Offpeak | 1112 | Maximum | 13300.65 | 2
Winter | Peak | 1056 | Average | 6807.5 | 3
Spring | Peak | 1040 | Average | 6916 | 3
Summer | Peak | 1056 | Average | 9023.7 | 3
Fall | Peak | 1024 | Average | 7296.45 | 3
Winter | Offpeak | 1176 | Average | 5776.4 | 3
Spring | Offpeak | 1144 | Average | 5543.65 | 3
Summer | Offpeak | 1152 | Average | 7135.8 | 3
Fall | Offpeak | 1112 | Average | 6513.5 | 3
Winter | Peak | 1056 | Maximum | 10378.2 | 3
Spring | Peak | 1040 | Maximum | 10841.25 | 3
Summer | Peak | 1056 | Maximum | 11748.45 | 3
Fall | Peak | 1024 | Maximum | 11436.25 | 3
Winter | Offpeak | 1176 | Maximum | 9507.05 | 3
Spring | Offpeak | 1144 | Maximum | 10120.95 | 3
Summer | Offpeak | 1152 | Maximum | 10916.85 | 3
Fall | Offpeak | 1112 | Maximum | 10344.95 | 3

## Load_all_2040_low_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 22853.9145
Spring | Peak | 1040 | Average | 23218.1671
Summer | Peak | 1056 | Average | 30294.068
Fall | Peak | 1024 | Average | 24495.4013
Winter | Offpeak | 1176 | Average | 19392.3396
Spring | Offpeak | 1144 | Average | 18610.9589
Summer | Offpeak | 1152 | Average | 23956.0724
Fall | Offpeak | 1112 | Average | 21866.9074
Winter | Peak | 1056 | Maximum | 34841.3508
Spring | Peak | 1040 | Maximum | 36395.8869
Summer | Peak | 1056 | Maximum | 39441.5089
Fall | Peak | 1024 | Maximum | 38393.4013
Winter | Offpeak | 1176 | Maximum | 31916.7547
Spring | Offpeak | 1144 | Maximum | 33977.7195
Summer | Offpeak | 1152 | Maximum | 36649.6888
Fall | Offpeak | 1112 | Maximum | 34729.725

## Load_bus_2040_low_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 4570.7829 | 1
Spring | Peak | 1040 | Average | 4643.6334 | 1
Summer | Peak | 1056 | Average | 6058.8136 | 1
Fall | Peak | 1024 | Average | 4899.0803 | 1
Winter | Offpeak | 1176 | Average | 3878.4679 | 1
Spring | Offpeak | 1144 | Average | 3722.1918 | 1
Summer | Offpeak | 1152 | Average | 4791.2145 | 1
Fall | Offpeak | 1112 | Average | 4373.3815 | 1
Winter | Peak | 1056 | Maximum | 6968.2702 | 1
Spring | Peak | 1040 | Maximum | 7279.1774 | 1
Summer | Peak | 1056 | Maximum | 7888.3018 | 1
Fall | Peak | 1024 | Maximum | 7678.6803 | 1
Winter | Offpeak | 1176 | Maximum | 6383.3509 | 1
Spring | Offpeak | 1144 | Maximum | 6795.5439 | 1
Summer | Offpeak | 1152 | Maximum | 7329.9378 | 1
Fall | Offpeak | 1112 | Maximum | 6945.945 | 1
Winter | Peak | 1056 | Average | 10284.2615 | 2
Spring | Peak | 1040 | Average | 10448.1752 | 2
Summer | Peak | 1056 | Average | 13632.3306 | 2
Fall | Peak | 1024 | Average | 11022.9306 | 2
Winter | Offpeak | 1176 | Average | 8726.5528 | 2
Spring | Offpeak | 1144 | Average | 8374.9315 | 2
Summer | Offpeak | 1152 | Average | 10780.2326 | 2
Fall | Offpeak | 1112 | Average | 9840.1083 | 2
Winter | Peak | 1056 | Maximum | 15678.6078 | 2
Spring | Peak | 1040 | Maximum | 16378.1491 | 2
Summer | Peak | 1056 | Maximum | 17748.679 | 2
Fall | Peak | 1024 | Maximum | 17277.0306 | 2
Winter | Offpeak | 1176 | Maximum | 14362.5396 | 2
Spring | Offpeak | 1144 | Maximum | 15289.9738 | 2
Summer | Offpeak | 1152 | Maximum | 16492.3599 | 2
Fall | Offpeak | 1112 | Maximum | 15628.3762 | 2
Winter | Peak | 1056 | Average | 7998.8701 | 3
Spring | Peak | 1040 | Average | 8126.3585 | 3
Summer | Peak | 1056 | Average | 10602.9238 | 3
Fall | Peak | 1024 | Average | 8573.3905 | 3
Winter | Offpeak | 1176 | Average | 6787.3188 | 3
Spring | Offpeak | 1144 | Average | 6513.8356 | 3
Summer | Offpeak | 1152 | Average | 8384.6253 | 3
Fall | Offpeak | 1112 | Average | 7653.4176 | 3
Winter | Peak | 1056 | Maximum | 12194.4728 | 3
Spring | Peak | 1040 | Maximum | 12738.5604 | 3
Summer | Peak | 1056 | Maximum | 13804.5281 | 3
Fall | Peak | 1024 | Maximum | 13437.6905 | 3
Winter | Offpeak | 1176 | Maximum | 11170.8641 | 3
Spring | Offpeak | 1144 | Maximum | 11892.2018 | 3
Summer | Offpeak | 1152 | Maximum | 12827.3911 | 3
Fall | Offpeak | 1112 | Maximum | 12155.4037 | 3

## Load_all_2040_high_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW
Winter | Peak | 1056 | Average | 30335.3621
Spring | Peak | 1040 | Average | 30818.8563
Summer | Peak | 1056 | Average | 40211.1211
Fall | Peak | 1024 | Average | 32514.2053
Winter | Offpeak | 1176 | Average | 25740.6075
Spring | Offpeak | 1144 | Average | 24703.4344
Summer | Offpeak | 1152 | Average | 31798.3219
Fall | Offpeak | 1112 | Average | 29025.2487
Winter | Peak | 1056 | Maximum | 46247.0003
Spring | Peak | 1040 | Maximum | 48310.4288
Summer | Peak | 1056 | Maximum | 52353.0642
Fall | Peak | 1024 | Maximum | 50961.8486
Winter | Offpeak | 1176 | Maximum | 42365.0097
Spring | Offpeak | 1144 | Maximum | 45100.6511
Summer | Offpeak | 1152 | Maximum | 48647.3151
Fall | Offpeak | 1112 | Maximum | 46098.8327

## Load_bus_2040_high_growth
Season | Hour_type | Number_of_hours | Load_type | Load_MW | Load_bus
Winter | Peak | 1056 | Average | 6067.0724 | 1
Spring | Peak | 1040 | Average | 6163.7713 | 1
Summer | Peak | 1056 | Average | 8042.2242 | 1
Fall | Peak | 1024 | Average | 6502.8411 | 1
Winter | Offpeak | 1176 | Average | 5148.1215 | 1
Spring | Offpeak | 1144 | Average | 4940.6869 | 1
Summer | Offpeak | 1152 | Average | 6359.6644 | 1
Fall | Offpeak | 1112 | Average | 5805.0497 | 1
Winter | Peak | 1056 | Maximum | 9249.4001 | 1
Spring | Peak | 1040 | Maximum | 9662.0858 | 1
Summer | Peak | 1056 | Maximum | 10470.6128 | 1
Fall | Peak | 1024 | Maximum | 10192.3697 | 1
Winter | Offpeak | 1176 | Maximum | 8473.0019 | 1
Spring | Offpeak | 1144 | Maximum | 9020.1302 | 1
Summer | Offpeak | 1152 | Maximum | 9729.463 | 1
Fall | Offpeak | 1112 | Maximum | 9219.7665 | 1
Winter | Peak | 1056 | Average | 13650.9129 | 2
Spring | Peak | 1040 | Average | 13868.4853 | 2
Summer | Peak | 1056 | Average | 18095.0045 | 2
Fall | Peak | 1024 | Average | 14631.3924 | 2
Winter | Offpeak | 1176 | Average | 11583.2734 | 2
Spring | Offpeak | 1144 | Average | 11116.5455 | 2
Summer | Offpeak | 1152 | Average | 14309.2449 | 2
Fall | Offpeak | 1112 | Average | 13061.3619 | 2
Winter | Peak | 1056 | Maximum | 20811.1501 | 2
Spring | Peak | 1040 | Maximum | 21739.693 | 2
Summer | Peak | 1056 | Maximum | 23558.8789 | 2
Fall | Peak | 1024 | Maximum | 22932.8319 | 2
Winter | Offpeak | 1176 | Maximum | 19064.2544 | 2
Spring | Offpeak | 1144 | Maximum | 20295.293 | 2
Summer | Offpeak | 1152 | Maximum | 21891.2918 | 2
Fall | Offpeak | 1112 | Maximum | 20744.4747 | 2
Winter | Peak | 1056 | Average | 10617.3767 | 3
Spring | Peak | 1040 | Average | 10786.5997 | 3
Summer | Peak | 1056 | Average | 14073.8924 | 3
Fall | Peak | 1024 | Average | 11379.9719 | 3
Winter | Offpeak | 1176 | Average | 9009.2126 | 3
Spring | Offpeak | 1144 | Average | 8646.2021 | 3
Summer | Offpeak | 1152 | Average | 11129.4127 | 3
Fall | Offpeak | 1112 | Average | 10158.8371 | 3
Winter | Peak | 1056 | Maximum | 16186.4501 | 3
Spring | Peak | 1040 | Maximum | 16908.6501 | 3
Summer | Peak | 1056 | Maximum | 18323.5725 | 3
Fall | Peak | 1024 | Maximum | 17836.647 | 3
Winter | Offpeak | 1176 | Maximum | 14827.7534 | 3
Spring | Offpeak | 1144 | Maximum | 15785.2279 | 3
Summer | Offpeak | 1152 | Maximum | 17026.5603 | 3
Fall | Offpeak | 1112 | Maximum | 16134.5915 | 3