## LMPs
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0.01 | 0.01 | 36 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50
2 | 0.01 | 0.01 | 36 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50
3 | 0.01 | 0.01 | 36 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50

## DispatchableGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9
J | Natural Gas | 1 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9
K | Natural Gas | 1 | 0 | 0 | 0 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2
L | Natural Gas | 1 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920
N | Natural Gas | 2 | 0 | 0 | 156.7207 | 799.2 | 0 | 0 | 799.2 | 799.2 | 0 | 0 | 799.2 | 799.2 | 0 | 0 | 799.2 | 799.2
O | Natural Gas | 2 | 0 | 0 | 977.5 | 977.5 | 0 | 0 | 977.5 | 977.5 | 0 | 0 | 977.5 | 977.5 | 0 | 0 | 977.5 | 977.5
P | Natural Gas | 2 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8
Q | Natural Gas | 3 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730
R | Natural Gas | 1 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2
S | Natural Gas | 3 | 0 | 0 | 979.7 | 979.7 | 0 | 0 | 979.7 | 979.7 | 0 | 0 | 979.7 | 979.7 | 0 | 0 | 979.7 | 979.7
X | Battery | 1 | 0 | 0 | 0 | 49.7542 | 0 | 0 | 1190.3187 | 1599.4452 | 0 | 0 | 0 | 1007.3595 | 0 | 0 | 0 | 618.897
Y | Battery | 2 | 0 | 0 | 0 | 7167.222 | 0 | 0 | 900.9171 | 7896.4517 | 0 | 0 | 2762.7588 | 9321.8338 | 0 | 0 | 0 | 8447.7932
Z | Battery | 3 | 0 | 0 | 0 | 4227.5459 | 0 | 0 | 1679.1078 | 9820.0791 | 0 | 0 | 628.4173 | 5903.3551 | 0 | 0 | 1277.6929 | 5223.5457

## NuclearGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Nuk1 | Nuclear | 1 | 0 | 0 | 2337.7 | 2337.7 | 0 | 0 | 1205 | 1205 | 0 | 0 | 2337.7 | 2337.7 | 0 | 0 | 2337.7 | 2337.7
Nuk2 | Nuclear | 2 | 0 | 0 | 2425 | 2425 | 0 | 0 | 1250 | 1250 | 0 | 0 | 2425 | 2425 | 0 | 0 | 2425 | 2425
Nuk3 | Nuclear | 2 | 0 | 0 | 2716 | 2716 | 0 | 0 | 1400 | 1400 | 0 | 0 | 2716 | 2716 | 0 | 0 | 2716 | 2716
Nuk4 | Nuclear | 3 | 0 | 0 | 2795.734 | 2795.734 | 0 | 0 | 1441.1 | 1441.1 | 0 | 0 | 2795.734 | 2795.734 | 0 | 0 | 2795.734 | 2795.734
Nuk5 | Nuclear | 3 | 0 | 0 | 745.542 | 745.542 | 0 | 0 | 384.3 | 384.3 | 0 | 0 | 745.542 | 745.542 | 0 | 0 | 745.542 | 745.542
Nuk6 | Nuclear | 3 | 0 | 0 | 922.373 | 922.373 | 0 | 0 | 475.45 | 475.45 | 0 | 0 | 922.373 | 922.373 | 0 | 0 | 922.373 | 922.373

## Solar_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 3723.9876 | 6149.382 | 0 | 0 | 3797.6861 | 6463.9082 | 0 | 0 | 5229.3392 | 7080.1229 | 0 | 0 | 4056.1064 | 6868.0614 | 0 | 0
2 | 9503.9721 | 14961.1095 | 0 | 0 | 9669.7937 | 15668.7935 | 0 | 0 | 12891.0132 | 17055.2766 | 0 | 0 | 10251.2394 | 16578.1382 | 0 | 0
3 | 9891.9783 | 14136.4185 | 0 | 0 | 10020.9507 | 14686.8394 | 0 | 0 | 12526.3436 | 15765.2151 | 0 | 0 | 10473.1862 | 15394.1075 | 0 | 0

## Reserves_MW
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0
J | Natural Gas | 1 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0
K | Natural Gas | 1 | 583.2 | 583.2 | 583.2 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0 | 583.2 | 583.2 | 0 | 0
L | Natural Gas | 1 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0 | 920 | 920 | 0 | 0
N | Natural Gas | 2 | 799.2 | 799.2 | 642.4793 | 0 | 799.2 | 799.2 | 0 | 0 | 799.2 | 799.2 | 0 | 0 | 799.2 | 799.2 | 0 | 0
O | Natural Gas | 2 | 977.5 | 977.5 | 0 | 0 | 977.5 | 977.5 | 0 | 0 | 977.5 | 977.5 | 0 | 0 | 977.5 | 977.5 | 0 | 0
P | Natural Gas | 2 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0
Q | Natural Gas | 3 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0
R | Natural Gas | 1 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0 | 271.2 | 271.2 | 0 | 0
S | Natural Gas | 3 | 979.7 | 979.7 | 0 | 0 | 979.7 | 979.7 | 0 | 0 | 979.7 | 979.7 | 0 | 0 | 979.7 | 979.7 | 0 | 0
X | Battery | 1 | 3000 | 3000 | 3000 | 2950.2458 | 3000 | 3000 | 1809.6813 | 1400.5548 | 3000 | 3000 | 3000 | 1992.6405 | 3000 | 3000 | 3000 | 2381.103
Y | Battery | 2 | 10000 | 10000 | 10000 | 2832.778 | 10000 | 10000 | 9099.0829 | 2103.5483 | 10000 | 10000 | 7237.2412 | 678.1662 | 10000 | 10000 | 10000 | 1552.2068
Z | Battery | 3 | 10000 | 10000 | 10000 | 5772.4541 | 10000 | 10000 | 8320.8922 | 179.9209 | 10000 | 10000 | 9371.5827 | 4096.6449 | 10000 | 10000 | 8722.3071 | 4776.4543

## PowerFlows_MW
Lines | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Line1-2 | 0 | 0 | 436.3989 | -900 | 0 | 0 | 900 | 0 | 0 | 0 | -119.5425 | -900 | 0 | 0 | 625.2535 | -900
Line1-3 | -900 | -900 | 564.6872 | 0 | -900 | -900 | 900 | -900 | -900 | -900 | 780.4575 | 0 | -900 | -900 | 458.3581 | 0
Line2-3 | -900 | -900 | 128.2882 | 900 | -900 | -900 | 0 | -900 | -900 | -900 | 900 | 900 | -900 | -900 | -166.8954 | 900

## Imports_MW
Name | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Bus1_import | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bus2_import | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slack_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Emissions_tons
Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
0 | 0 | 3599.9159 | 4491.5026 | 0 | 0 | 4491.5026 | 4491.5026 | 0 | 0 | 4491.5026 | 4491.5026 | 0 | 0 | 4491.5026 | 4491.5026