## LMPs
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50
2 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50
3 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50 | 0.01 | 0.01 | 50 | 50

## DispatchableGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9
P | Natural Gas | 2 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8
Q | Natural Gas | 3 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730
X | Battery | 1 | 0 | 0 | 1086.9576 | 7030.7434 | 0 | 0 | 2017.2823 | 5097.2271 | 0 | 0 | 1368.9506 | 5556.559 | 0 | 0 | 1727.8632 | 7759.2942
Y | Battery | 2 | 0 | 0 | 3014.9545 | 10313.4726 | 0 | 0 | 5050.6102 | 15805.4859 | 0 | 0 | 7474.4389 | 15771.5578 | 0 | 0 | 4456.9921 | 11952.7119
Z | Battery | 3 | 0 | 0 | 5395.8267 | 8372.4519 | 0 | 0 | 7204.4691 | 13269.3723 | 0 | 0 | 6564.3146 | 10517.6293 | 0 | 0 | 6517.4115 | 9647.4158

## NuclearGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Nuk1 | Nuclear | 1 | 0 | 0 | 2337.7 | 2337.7 | 0 | 0 | 1205 | 1205 | 0 | 0 | 2337.7 | 2337.7 | 0 | 0 | 2337.7 | 2337.7
Nuk2 | Nuclear | 2 | 0 | 0 | 2425 | 2425 | 0 | 0 | 1250 | 1250 | 0 | 0 | 2425 | 2425 | 0 | 0 | 2425 | 2425
Nuk3 | Nuclear | 2 | 0 | 0 | 2716 | 2716 | 0 | 0 | 1400 | 1400 | 0 | 0 | 2716 | 2716 | 0 | 0 | 2716 | 2716
Nuk4 | Nuclear | 3 | 0 | 0 | 2795.734 | 2795.734 | 0 | 0 | 1441.1 | 1441.1 | 0 | 0 | 2795.734 | 2795.734 | 0 | 0 | 2795.734 | 2795.734
Nuk5 | Nuclear | 3 | 0 | 0 | 745.542 | 745.542 | 0 | 0 | 384.3 | 384.3 | 0 | 0 | 745.542 | 745.542 | 0 | 0 | 745.542 | 745.542
Nuk6 | Nuclear | 3 | 0 | 0 | 922.373 | 922.373 | 0 | 0 | 475.45 | 475.45 | 0 | 0 | 922.373 | 922.373 | 0 | 0 | 922.373 | 922.373

## Solar_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 5019.095 | 8123.8049 | 0 | 0 | 5113.4354 | 8526.4251 | 0 | 0 | 6946.0724 | 9315.232 | 0 | 0 | 5444.2352 | 9043.7753 | 0 | 0
2 | 12417.9638 | 19403.5611 | 0 | 0 | 12630.2296 | 20309.4565 | 0 | 0 | 16753.6629 | 22084.2721 | 0 | 0 | 13374.5292 | 21473.4945 | 0 | 0
3 | 12158.4163 | 17591.6586 | 0 | 0 | 12323.5119 | 18296.244 | 0 | 0 | 15530.6267 | 19676.6561 | 0 | 0 | 12902.4116 | 19201.6068 | 0 | 0

## Reserves_MW
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0 | 697.9 | 697.9 | 0 | 0
P | Natural Gas | 2 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0 | 2244.8 | 2244.8 | 0 | 0
Q | Natural Gas | 3 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0 | 730 | 730 | 0 | 0
X | Battery | 1 | 8000 | 8000 | 6913.0424 | 969.2566 | 8000 | 8000 | 5982.7177 | 2902.7729 | 8000 | 8000 | 6631.0494 | 2443.441 | 8000 | 8000 | 6272.1368 | 240.7058
Y | Battery | 2 | 18000 | 18000 | 14985.0455 | 7686.5274 | 18000 | 18000 | 12949.3898 | 2194.5141 | 18000 | 18000 | 10525.5611 | 2228.4422 | 18000 | 18000 | 13543.0079 | 6047.2881
Z | Battery | 3 | 15000 | 15000 | 9604.1733 | 6627.5481 | 15000 | 15000 | 7795.5309 | 1730.6277 | 15000 | 15000 | 8435.6854 | 4482.3707 | 15000 | 15000 | 8482.5885 | 5352.5842

## PowerFlows_MW
Lines | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Line1-2 | 0 | 0 | 0 | 900 | 0 | 0 | 0 | -900 | 0 | 0 | -900 | -900 | 0 | 0 | 0 | 900
Line1-3 | -900 | -900 | -900 | 900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | 0 | -900 | -900 | -900 | 900
Line2-3 | -900 | -900 | -900 | 0 | -900 | -900 | -900 | 0 | -900 | -900 | 0 | 900 | -900 | -900 | -900 | 0

## Imports_MW
Name | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Bus1_import | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bus2_import | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slack_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Emissions_tons
Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
0 | 0 | 1536.6793 | 1536.6793 | 0 | 0 | 1536.6793 | 1536.6793 | 0 | 0 | 1536.6793 | 1536.6793 | 0 | 0 | 1536.6793 | 1536.6793