## LMPs
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 90 | 10000 | 36 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 90 | 10000
2 | 5045 | 10000 | 36 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 5045 | 10000
3 | 10000 | 10000 | 36 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000

## DispatchableGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9
J | Natural Gas | 1 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9
K | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 18.3722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
L | Natural Gas | 1 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920 | 920
N | Natural Gas | 2 | 799.2 | 324.9927 | 156.7207 | 413.7519 | 677.7471 | 277.8138 | 799.2 | 351.2032 | 462.9991 | 185.3816 | 655.3522 | 270.1111 | 638.984 | 217.1908 | 799.2 | 328.3805
O | Natural Gas | 2 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5 | 977.5
P | Natural Gas | 2 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8 | 2244.8
Q | Natural Gas | 3 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730
R | Natural Gas | 1 | 160.8019 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 271.2 | 190.7567 | 271.2
S | Natural Gas | 3 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7 | 979.7

## NuclearGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Nuk1 | Nuclear | 1 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 1205 | 1205 | 1205 | 1205 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7
Nuk2 | Nuclear | 2 | 2425 | 2425 | 2425 | 2425 | 1250 | 1250 | 1250 | 1250 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425
Nuk3 | Nuclear | 2 | 2716 | 2716 | 2716 | 2716 | 1400 | 1400 | 1400 | 1400 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716
Nuk4 | Nuclear | 3 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 1441.1 | 1441.1 | 1441.1 | 1441.1 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734
Nuk5 | Nuclear | 3 | 745.542 | 745.542 | 745.542 | 745.542 | 384.3 | 384.3 | 384.3 | 384.3 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542
Nuk6 | Nuclear | 3 | 922.373 | 922.373 | 922.373 | 922.373 | 475.45 | 475.45 | 475.45 | 475.45 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373

## Solar_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0
2 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0
3 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0

## Reserves_MW
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
J | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
K | Natural Gas | 1 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 564.8278 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2 | 583.2
L | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N | Natural Gas | 2 | 0 | 474.2073 | 642.4793 | 385.4481 | 121.4529 | 521.3862 | 0 | 447.9968 | 336.2009 | 613.8184 | 143.8478 | 529.0889 | 160.216 | 582.0092 | 0 | 470.8195
O | Natural Gas | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P | Natural Gas | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Natural Gas | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Natural Gas | 1 | 110.3981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.4433 | 0
S | Natural Gas | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PowerFlows_MW
Lines | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Line1-2 | 296.571 | 900 | 436.3989 | 900 | 900 | 900 | 750.4586 | 900 | 900 | 900 | 793.532 | 900 | 753.3745 | 900 | 246.0744 | 900
Line1-3 | 900 | 900 | 564.6872 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Line2-3 | 603.429 | 0 | 128.2882 | 0 | 0 | 0 | 149.5414 | 0 | 0 | 0 | 106.468 | 0 | 146.6255 | 0 | 653.9256 | 0

## Imports_MW
Name | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Bus1_import | 1 | 657.9267 | 1200 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 726.1061 | 1200
Bus2_import | 2 | 1200 | 1200 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200

## Slack_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 0 | 2376.352 | 0 | 2132.9542 | 1050.0378 | 3716.2599 | 405.6051 | 3682.6452 | 1360.5084 | 3211.2921 | 415.8171 | 3090.5595 | 142.5745 | 3101.155 | 0 | 2702.097
2 | 0 | 4724.4868 | 0 | 3652.6701 | 1464.0983 | 7863.0315 | 0 | 7144.4485 | 2420.5833 | 6862.4642 | 0 | 5950.9227 | 0 | 6455.441 | 0 | 5018.6127
3 | 66.8703 | 4914.7395 | 0 | 4227.5459 | 2854.7524 | 7520.6411 | 1529.5664 | 7120.0791 | 3208.8638 | 6447.7353 | 1302.4068 | 5903.3551 | 1111.0053 | 6178.5521 | 15.2301 | 5223.5457

## Emissions_tons
Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
3966.7075 | 3713.9195 | 3599.9159 | 3774.0534 | 3952.9091 | 3681.9559 | 4049.5678 | 3731.677 | 3807.4182 | 3619.3335 | 3937.7367 | 3676.7374 | 3926.6473 | 3640.8841 | 3985.29 | 3716.2147