## LMPs
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
2 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
3 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000

## DispatchableGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9 | 697.9
P | Natural Gas | 2 | 1356.9357 | 891.2293 | 1491.4164 | 1004.8485 | 1342.7847 | 830.8362 | 1521.7727 | 924.7809 | 1067.8891 | 712.5152 | 1314.1174 | 820.9761 | 1293.1647 | 753.2337 | 1395.2805 | 895.5659
Q | Natural Gas | 3 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730 | 730

## NuclearGen_MWh
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Nuk1 | Nuclear | 1 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 1205 | 1205 | 1205 | 1205 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7 | 2337.7
Nuk2 | Nuclear | 2 | 2425 | 2425 | 2425 | 2425 | 1250 | 1250 | 1250 | 1250 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425 | 2425
Nuk3 | Nuclear | 2 | 2716 | 2716 | 2716 | 2716 | 1400 | 1400 | 1400 | 1400 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716 | 2716
Nuk4 | Nuclear | 3 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 1441.1 | 1441.1 | 1441.1 | 1441.1 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734 | 2795.734
Nuk5 | Nuclear | 3 | 745.542 | 745.542 | 745.542 | 745.542 | 384.3 | 384.3 | 384.3 | 384.3 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542 | 745.542
Nuk6 | Nuclear | 3 | 922.373 | 922.373 | 922.373 | 922.373 | 475.45 | 475.45 | 475.45 | 475.45 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373 | 922.373

## Solar_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0
2 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0
3 | 348.33 | 348.33 | 0 | 0 | 455.6483 | 455.6483 | 0 | 0 | 444.1309 | 444.1309 | 0 | 0 | 342.2064 | 342.2064 | 0 | 0

## Reserves_MW
Plant ID | Fuel Type | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
I | Natural Gas | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P | Natural Gas | 2 | 887.8643 | 1353.5707 | 753.3836 | 1239.9515 | 902.0153 | 1413.9638 | 723.0273 | 1320.0191 | 1176.9109 | 1532.2848 | 930.6826 | 1423.8239 | 951.6353 | 1491.5663 | 849.5195 | 1349.2341
Q | Natural Gas | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PowerFlows_MW
Lines | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Line1-2 | 900 | 0 | 900 | 0 | 0 | 0 | 900 | 0 | 0 | 0 | 0 | 0 | 900 | 0 | 900 | 0
Line1-3 | 0 | -900 | 0 | -900 | -900 | -900 | 0 | -900 | -900 | -900 | -900 | -900 | 0 | -900 | 0 | -900
Line2-3 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900 | -900

## Imports_MW
Name | Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
Bus1_import | 1 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
Bus2_import | 2 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200

## Slack_MWh
Bus | Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1 | 2235.165 | 3539.8749 | 1686.9576 | 3130.7434 | 1554.8871 | 4967.8768 | 2617.2823 | 4797.2271 | 2266.3415 | 4635.5012 | 1068.9506 | 4356.559 | 2666.4288 | 4465.969 | 2327.8632 | 3859.2942
2 | 3471.6981 | 11823.0018 | 1668.3381 | 10353.4241 | 6981.7966 | 15172.972 | 3673.6376 | 14125.5049 | 8900.6429 | 14586.626 | 5405.1215 | 13295.3817 | 4498.1581 | 14037.0544 | 3206.5116 | 12101.9461
3 | 5716.4373 | 12049.6796 | 4495.8267 | 11072.4519 | 8837.0136 | 14809.7457 | 6304.4691 | 14169.3723 | 9892.8468 | 14038.8762 | 7464.3146 | 13217.6293 | 6466.5562 | 13665.7515 | 5617.4115 | 12347.4158

## Emissions_tons
Winter_Peak_Average | Winter_Peak_Maximum | Winter_Offpeak_Average | Winter_Offpeak_Maximum | Spring_Peak_Average | Spring_Peak_Maximum | Spring_Offpeak_Average | Spring_Offpeak_Maximum | Summer_Peak_Average | Summer_Peak_Maximum | Summer_Offpeak_Average | Summer_Offpeak_Maximum | Fall_Peak_Average | Fall_Peak_Maximum | Fall_Offpeak_Average | Fall_Offpeak_Maximum
1140.8072 | 933.1626 | 1200.7681 | 983.822 | 1134.4977 | 906.2352 | 1214.303 | 948.1223 | 1011.93 | 853.4794 | 1121.7158 | 901.8389 | 1112.3736 | 871.6345 | 1157.904 | 935.0962